## AlarmEntries
Id | Source.Topic | Source.Priority | Source.DeviceWatch | Source.CommonAlarm | Source.PreWarningEnabled | Source.TestMeasurementEnabled | Source.GroupId | Popup.ShowAlarmGroup | Popup.ShowDeviceName | Popup.ShowIndDeviceName | Popup.ShowIndDeviceLostText | Popup.ShowIndAlarmText | Popup.ShowChannelDescription | Popup.ShowIndChannelDescription | Popup.ShowMeasurement | Popup.ShowAddress | Popup.ShowInstruction | Popup.Instruction | Buzzer.Active | Buzzer.Profile | Sound.Active | Sound.Profile | ReactivationTime | AlarmColor | Comment
| GW/#CName/Device/bms/#ATiCS.adr | 20 | TRUE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 8 | FALSE | 0 | 0 | #ff0000 | ATiCS Awaria lub brak urządzenia
| GW/#CName/Device/bms/#ATiCS.adr/Meas/1 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne. | TRUE | 5 | FALSE | 0 | 0 | #edc301 | ATiCS Awaria zasilania linii 1
| GW/#CName/Device/bms/#ATiCS.adr/Meas/2 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | ATiCS Awaria zasilania linii 2
| GW/#CName/Device/bms/#ATiCS.adr/Meas/5 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | ATiCS Tryb ręczny urządzenia
| GW/#CName/Device/bms/#ATiCS.adr/Meas/6 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | FALSE | TRUE | Skontaktuj się z serwisem Pro-Mac Łódź | TRUE | 5 | FALSE | 0 | 0 | #edc301 | ATiCS Błąd urządzenia
| GW/#CName/Device/bms/#ATiCS.adr/Meas/7 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | ATiCS Prąd obciążenia
| GW/#CName/Device/bms/#ATiCS.adr/Meas/9 | 10 | FALSE | FALSE | TRUE | TRUE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | ATiCS Doziemienie
| GW/#CName/Device/bms/#ATiCS.adr/Meas/10 | 10 | FALSE | FALSE | TRUE | TRUE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | ATiCS Przeciążenie transformatora
| GW/#CName/Device/bms/#ATiCS.adr/Meas/11 | 20 | FALSE | FALSE | TRUE | TRUE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 8 | FALSE | 0 | 0 | #ff0000 | ATiCS Przegżanie transformatora
| GW/#CName/Device/bms/#ATiCS.adr/Meas/12 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | ATiCS Lokalizacja uszkodzenia izolacji
| GW/#CName/Device/bms/#EDS.adr | 20 | TRUE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 8 | FALSE | 0 | 0 | #ff0000 | EDS151 Awaria urządzenia
| GW/#CName/Device/bms/#EDS.adr/Meas/1 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | EDS151 Uszkodzenie izolacji. Odpływ 1
| GW/#CName/Device/bms/#EDS.adr/Meas/2 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | EDS151 Uszkodzenie izolacji. Odpływ 2
| GW/#CName/Device/bms/#EDS.adr/Meas/3 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | EDS151 Uszkodzenie izolacji. Odpływ 3
| GW/#CName/Device/bms/#EDS.adr/Meas/4 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | EDS151 Uszkodzenie izolacji. Odpływ 4
| GW/#CName/Device/bms/#EDS.adr/Meas/5 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | EDS151 Uszkodzenie izolacji. Odpływ 5
| GW/#CName/Device/bms/#EDS.adr/Meas/6 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Powiadom służby techniczne | TRUE | 5 | FALSE | 0 | 0 | #edc301 | EDS151 Uszkodzenie izolacji. Odpływ 6
| GW/#CName/Device/bms/#EDS.adr/Meas/7 | 10 | FALSE | FALSE | TRUE | FALSE | 1 | TRUE | TRUE | TRUE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | TRUE | Skontaktuj się z serwisem Pro-Mac Łódź | TRUE | 5 | FALSE | 0 | 0 | #edc301 | EDS151 Błąd urządzenia

## Groups
Id | Label | Icon
1 | IPS | it-system-sm

## Help
Column name | Channel description | Valid values | Example
AlarmEntries - Source.Topic | Path | Known and unknown devices in the system. | Device/bms/4/Meas/6
AlarmEntries - Source.Priority | Priority | Numbers greater than or equal to 0 | 3
AlarmEntries - Source.DeviceWatch | Device failure | TRUE, FALSE | TRUE
AlarmEntries - Source.CommonAlarm | Common alarm | TRUE, FALSE | TRUE
AlarmEntries - Source.PreWarningEnabled | Active on prewarning | TRUE, FALSE | FALSE
AlarmEntries - Source.TestMeasurementEnabled | Active on test | TRUE, FALSE | TRUE
AlarmEntries - Source.GroupId | Alarm group | IDs of the alarm groups as they are assigned in other worksheets | 3
AlarmEntries - Popup.ShowAlarmGroup | Show alarm group | TRUE, FALSE | FALSE
AlarmEntries - Popup.ShowDeviceName | Show device description | TRUE, FALSE | FALSE
AlarmEntries - Popup.ShowIndDeviceName | Show individual device description | TRUE, FALSE | FALSE
AlarmEntries - Popup.ShowIndDeviceLostText | Show device failure message | TRUE, FALSE | FALSE
AlarmEntries - Popup.ShowIndAlarmText | Show individual alarm text | TRUE, FALSE | FALSE
AlarmEntries - Popup.ShowChannelDescription | Show channel description of the measuring point | TRUE, FALSE | TRUE
AlarmEntries - Popup.ShowIndChannelDescription | Show individual text of the measuring point | TRUE, FALSE | FALSE
AlarmEntries - Popup.ShowMeasurement | Show measured value | TRUE, FALSE | FALSE
AlarmEntries - Popup.ShowAddress | Show path | TRUE, FALSE | TRUE
AlarmEntries - Popup.ShowInstruction | Show instruction | TRUE, FALSE | TRUE
AlarmEntries - Popup.Instruction | Instruction | Free text that is displayed as an instruction | Note
AlarmEntries - Buzzer.Active | Buzzer | TRUE, FALSE | FALSE
AlarmEntries - Buzzer.Profile | Profile | 1 = 600Hz, 2 = 733Hz, 3 = 900Hz, ... Complete list is available in the web application | 2
AlarmEntries - Sound.Active | Alarm tone | TRUE, FALSE | TRUE
AlarmEntries - Sound.Profile | Profile | 1 = IEC 60601-1-8, general high alarm, C4 C4 C4 - C4 C4 (genhi)_1.mp3 ... Complete list is available in the web application | 1
AlarmEntries - ReactivationTime | Repetition interval | 0 - 60 | 30
AlarmEntries - AlarmColor | Alarm colour | Colours are written #rrggbb (r = red, g = green, b = blue) where rgb are each HEX numbers from 00 to ff | #ee1122
AlarmEntries - Comment | Comment | ... | Active energy net
AlarmEntries - Id | index | Greater than 0. The value must be unambiguous | 5
Groups - Id | index | Greater than 0. The value must be unambiguous | 4
Groups - Label | Name | Name of the alarm group | Voltage
Groups - Icon | Icon | empty, inspection_sheet_filled, inspection_sheet_outline, caret_down, caret_up, caret_right, caret_left, operation, timer, stopwatch, clock, heater_infrared, plus, minus, volume_down, volume, mute, music, video, zoom_in, zoom_out, loupe, overview, home, settings, profiles, system, alarm_history, room, floor_plan, pressure, plc, sps, cleaning_mode, operation_light_satelite, operation_light, lighting, led, fire_alarm, firle_alarm, intercom, ventilation, humidity, jalousie, ucv, bsv, it_system, climate, gas, sign_in-use, sign_x-ray, sign_laser, alarms, op_lights_dr_mach_plus, op_lights_dr_mach_minus, op_lights_dr_mach_rotate_left, op_lights_dr_mach_rotate_right, op_lights_draeger_sync, sync, op_lights_dr_mach_sun, op_lights_dr_mach_moon, op_lights_merivaara_dim_down, lightbulb_crosshatched, op_lights_merivaara_dim_up, lightbulb_on, op_lights_merivaara_lightbulb_half, lightbulb_half, op_lights_merivaara_lightbulb_cct, lightbulb_cct, op_lights_simeon_brightness_half, brightness_half, op_lights_simeon_brightness, brightness, op_lights_simeon_field_size, field_size, op_lights_dr_mach_freeze, freeze, op_lights_simeon_field, field, op_lights_simeon_preset_call, preset_call, op_lights_simeon_preset_save, preset_save, bsv-sm, climate-sm, it-system-sm, gas-sm | empty